## Slide 1: DR Solution 1: RPO = 1 hr, RTO = 8 hrs, HA Required
This solution uses: - Real-time replication of data to a secondary site (Active-Passive setup). - Automated failover to ensure High Availability. - Backup systems that are restored in case of primary failure, ensuring RTO of 8 hours. HA is ensured through active monitoring and automated load balancing.

## Slide 2: DR Solution 2: RPO = 24 hrs, RTO = 72 hrs, HA Not Required
This solution involves: - Daily backups to an offsite location or cloud storage. - Manual failover or disaster recovery plan initiation within 72 hours. - No high availability mechanisms as HA is not required.

## Slide 3: DR Solution 3: RPO = 5 mins, RTO = 1 hr, HA Required
This solution uses: - Continuous data replication to a secondary site in real-time (Active-Active setup). - Automated failover and load balancing. - Redundant infrastructure to ensure High Availability with a failover time of less than 1 hour.